## Slide 1: Energy audit in school
Facilitator:
Goal: Mitigating effects of climate change due to energy use

## Slide 2: Introduction
Climate change is a challenge, but it can be an opportunity to undertake true sustainable development.
Measures to save and make energy more efficient, as well as to promote renewable energy, favor genuine development
Promoting energy efficient and low-carbon power is key to mitigating climate change

## Slide 3: Objective and Outputs
List the types of energy used in school
Determine the effects of energy use to the environment
Develop mitigation measures to reduce the effects of energy use
Outputs
Analysis of data on energy consumption
Mitigation measures documented
Projects to mitigate the energy loss

## Slide 4: Reflection:
What types of energy do you use in your school?

## Slide 5: Responses
Schools use different types of energy for lighting, cooking, and transportation.
Their comes from oil,coal, gas, electricity, “free” sources, such as solar radiation which supply light and heat.
It is important for schools to know which type of energy is used most and how it affects the environment by doing an energy audit.

## Slide 6
Energy audit also known as energy assessment refers to the process of evaluating the energy uses of a building or plant/industry and thereafter identifying opportunities through which energy can be saved.
It forms part of the overall energy management process and is a vital component in the overall outcome of an energy conservation effort.

## Slide 7
Energy audits help to understand the whole picture of your energy use, comfort, and safety. An assessment can help you determine how much energy you uses, which area is inefficient, and which problem areas and fixes you should prioritize to save energy and improve the comfort of your place. An energy assessment should be your first step before making energy-saving improvements, as well as before adding a renewable energy system to your area

## Slide 8
Apart from energy conservation, the energy audit process also aims at cutting production costs thus maximizing profitability. Energy audit can be carried out in any premises; homes, schools, small business, firms etc.
The Kenya government, through the energy regulation act 2012, has made it mandatory for any premises that consumes more than 180,000 KWh annually to conduct an energy audit at least once in every three years.

## Slide 9: Why improving energy efficiency is important because
Reduces energy wastage by identifying and eliminating areas where energy is wasted
Fuel bills are reduced making the business more profitable and competitive
Comfort levels are increased for staff which can improve productivity
Energy usage is reduced which reduces emissions of carbon dioxide and therefore helps in sustainability goals

## Slide 10: Energy Audit Helps in
Verifying whether the Amount of Energy Consumed corresponds to the bills charged by the Utility Company
Establishing the Energy Index for your facility (Energy Consumed/unit production(occupancy)
Identify any energy leakages/losses
Determining possible problems/malfunctioning, in order to avoid power peaks (demand charges) and other situations of energy waste

## Slide 11
Lower energy bills. Through energy audits, you can drive your energy costs down drastically.
Environmental Impact. When your facility consumes less energy, you are reducing your carbon footprint and helping to decrease unnecessary waste and pollution

## Slide 12: Step1 of energy audit
Desktop study – This involves studying the available documents. It helps to identify excessive wastage or runaway cost. Data to be studied include;
  Energy used e.g. KWh, litres of petrol/diesel/Kerosine, Kg of LPG, M3 of water used etc.
  Cost of the energy consumed.

## Slide 13: Step2 of energy audit
Walk through audit
  This involves the auditor walking through to familiarize with the premises. This walk through will help in identifying possible energy saving areas.

## Slide 14: Step3 of energy audit
Detailed audit or complete audit
  Involves using special energy audit equipment and specific techniques to do detailed evaluation of energy usage in an equipment or system. Logging equipment is connected to the system being audited to record instant data of energy usage over a period of time. Some energy audit tools will show the point of energy wastage e.g. steam leaks, compressed air leaks etc.

## Slide 15: Step 4 of energy audit
Analysis and report writing –
  All the data obtained from the above steps is analyzed.
  Used to identify the areas where energy savings can be done.
  Using engineering financial techniques, the cost of the project is calculated also the payback period and ROI (Return On Investment) are calculated.
  From the calculation, the investment plan can then be drawn where the projects with high ROI and short payback period are given first priority.

## Slide 16: Session Plan
Aspect | Time